## 45300 Product Configurations
CY2026 CRS451 Product Configurations
Configuration | Accuracy Option | Pressure Range Option | Cal Cert Option | Nose Cone Option | Product Description
SA-7-NC-SN | SA Standard 0.1% Accuracy | 0-7.25psig (50kPa) | NC No Calibration Cert | SN w/Standard Nose Cone | CRS451-SA-7-NC-SN CRS451 Water Level Recording Sensor, Stainless Steel (0 to +60C)** -SA Standard 0.1% Accuracy -7 0-7.25psig (50kPa) -NC No Calibration Cert –SN w/Standard Nose Cone
SA-7-CC-SN | SA Standard 0.1% Accuracy | 0-7.25psig (50kPa) | CC w/Calibration Cert | SN w/Standard Nose Cone | CRS451-SA-7-CC-SN CRS451 Water Level Recording Sensor, Stainless Steel (0 to +60C)** -SA Standard 0.1% Accuracy -7 0-7.25psig (50kPa) -CC w/Calibration Cert –SN w/Standard Nose Cone
SA-7-NC-WN | SA Standard 0.1% Accuracy | 0-7.25psig (50kPa) | NC No Calibration Cert | WN w/Weighted Nose Cone | CRS451-SA-7-NC-WN CRS451 Water Level Recording Sensor, Stainless Steel (0 to +60C)** -SA Standard 0.1% Accuracy -7 0-7.25psig (50kPa) -NC No Calibration Cert -WN w/Weighted Nose Cone
SA-7-CC-WN | SA Standard 0.1% Accuracy | 0-7.25psig (50kPa) | CC w/Calibration Cert | WN w/Weighted Nose Cone | CRS451-SA-7-CC-WN CRS451 Water Level Recording Sensor, Stainless Steel (0 to +60C)** -SA Standard 0.1% Accuracy -7 0-7.25psig (50kPa) -CC w/Calibration Cert -WN w/Weighted Nose Cone
SA-7-NC-NN | SA Standard 0.1% Accuracy | 0-7.25psig (50kPa) | NC No Calibration Cert | NN w/NPT Fitting | CRS451-SA-7-NC-NN CRS451 Water Level Recording Sensor, Stainless Steel (0 to +60C)** -SA Standard 0.1% Accuracy -7 0-7.25psig (50kPa) -NC No Calibration Cert -NN w/NPT Fitting
SA-7-CC-NN | SA Standard 0.1% Accuracy | 0-7.25psig (50kPa) | CC w/Calibration Cert | NN w/NPT Fitting | CRS451-SA-7-CC-NN CRS451 Water Level Recording Sensor, Stainless Steel (0 to +60C)** -SA Standard 0.1% Accuracy -7 0-7.25psig (50kPa) -CC w/Calibration Cert -NN w/NPT Fitting
SA-14-NC-SN | SA Standard 0.1% Accuracy | 0-14.5psig (100kPa) | NC No Calibration Cert | SN w/Standard Nose Cone | CRS451-SA-14-NC-SN CRS451 Water Level Recording Sensor, Stainless Steel (0 to +60C)** -SA Standard 0.1% Accuracy -14 0-14.5psig (100kPa) -NC No Calibration Cert –SN w/Standard Nose Cone
SA-14-CC-SN | SA Standard 0.1% Accuracy | 0-14.5psig (100kPa) | CC w/Calibration Cert | SN w/Standard Nose Cone | CRS451-SA-14-CC-SN CRS451 Water Level Recording Sensor, Stainless Steel (0 to +60C)** -SA Standard 0.1% Accuracy -14 0-14.5psig (100kPa) -CC w/Calibration Cert –SN w/Standard Nose Cone
SA-14-NC-WN | SA Standard 0.1% Accuracy | 0-14.5psig (100kPa) | NC No Calibration Cert | WN w/Weighted Nose Cone | CRS451-SA-14-NC-WN CRS451 Water Level Recording Sensor, Stainless Steel (0 to +60C)** -SA Standard 0.1% Accuracy -14 0-14.5psig (100kPa) -NC No Calibration Cert -WN w/Weighted Nose Cone
SA-14-CC-WN | SA Standard 0.1% Accuracy | 0-14.5psig (100kPa) | CC w/Calibration Cert | WN w/Weighted Nose Cone | CRS451-SA-14-CC-WN CRS451 Water Level Recording Sensor, Stainless Steel (0 to +60C)** -SA Standard 0.1% Accuracy -14 0-14.5psig (100kPa) -CC w/Calibration Cert -WN w/Weighted Nose Cone
SA-14-NC-NN | SA Standard 0.1% Accuracy | 0-14.5psig (100kPa) | NC No Calibration Cert | NN w/NPT Fitting | CRS451-SA-14-NC-NN CRS451 Water Level Recording Sensor, Stainless Steel (0 to +60C)** -SA Standard 0.1% Accuracy -14 0-14.5psig (100kPa) -NC No Calibration Cert -NN w/NPT Fitting
SA-14-CC-NN | SA Standard 0.1% Accuracy | 0-14.5psig (100kPa) | CC w/Calibration Cert | NN w/NPT Fitting | CRS451-SA-14-CC-NN CRS451 Water Level Recording Sensor, Stainless Steel (0 to +60C)** -SA Standard 0.1% Accuracy -14 0-14.5psig (100kPa) -CC w/Calibration Cert -NN w/NPT Fitting
SA-29-NC-SN | SA Standard 0.1% Accuracy | 0-29psig (200kPa) | NC No Calibration Cert | SN w/Standard Nose Cone | CRS451-SA-29-NC-SN CRS451 Water Level Recording Sensor, Stainless Steel (0 to +60C)** -SA Standard 0.1% Accuracy -29 0-29psig (200kPa) -NC No Calibration Cert –SN w/Standard Nose Cone
SA-29-CC-SN | SA Standard 0.1% Accuracy | 0-29psig (200kPa) | CC w/Calibration Cert | SN w/Standard Nose Cone | CRS451-SA-29-CC-SN CRS451 Water Level Recording Sensor, Stainless Steel (0 to +60C)** -SA Standard 0.1% Accuracy -29 0-29psig (200kPa) -CC w/Calibration Cert –SN w/Standard Nose Cone
SA-29-NC-WN | SA Standard 0.1% Accuracy | 0-29psig (200kPa) | NC No Calibration Cert | WN w/Weighted Nose Cone | CRS451-SA-29-NC-WN CRS451 Water Level Recording Sensor, Stainless Steel (0 to +60C)** -SA Standard 0.1% Accuracy -29 0-29psig (200kPa) -NC No Calibration Cert -WN w/Weighted Nose Cone
SA-29-CC-WN | SA Standard 0.1% Accuracy | 0-29psig (200kPa) | CC w/Calibration Cert | WN w/Weighted Nose Cone | CRS451-SA-29-CC-WN CRS451 Water Level Recording Sensor, Stainless Steel (0 to +60C)** -SA Standard 0.1% Accuracy -29 0-29psig (200kPa) -CC w/Calibration Cert -WN w/Weighted Nose Cone
SA-29-NC-NN | SA Standard 0.1% Accuracy | 0-29psig (200kPa) | NC No Calibration Cert | NN w/NPT Fitting | CRS451-SA-29-NC-NN CRS451 Water Level Recording Sensor, Stainless Steel (0 to +60C)** -SA Standard 0.1% Accuracy -29 0-29psig (200kPa) -NC No Calibration Cert -NN w/NPT Fitting
SA-29-CC-NN | SA Standard 0.1% Accuracy | 0-29psig (200kPa) | CC w/Calibration Cert | NN w/NPT Fitting | CRS451-SA-29-CC-NN CRS451 Water Level Recording Sensor, Stainless Steel (0 to +60C)** -SA Standard 0.1% Accuracy -29 0-29psig (200kPa) -CC w/Calibration Cert -NN w/NPT Fitting
SA-72-NC-SN | SA Standard 0.1% Accuracy | 0-72.5psig (500kPa) | NC No Calibration Cert | SN w/Standard Nose Cone | CRS451-SA-72-NC-SN CRS451 Water Level Recording Sensor, Stainless Steel (0 to +60C)** -SA Standard 0.1% Accuracy -72 0-72.5psig (500kPa) -NC No Calibration Cert –SN w/Standard Nose Cone
SA-72-CC-SN | SA Standard 0.1% Accuracy | 0-72.5psig (500kPa) | CC w/Calibration Cert | SN w/Standard Nose Cone | CRS451-SA-72-CC-SN CRS451 Water Level Recording Sensor, Stainless Steel (0 to +60C)** -SA Standard 0.1% Accuracy -72 0-72.5psig (500kPa) -CC w/Calibration Cert –SN w/Standard Nose Cone
SA-72-NC-WN | SA Standard 0.1% Accuracy | 0-72.5psig (500kPa) | NC No Calibration Cert | WN w/Weighted Nose Cone | CRS451-SA-72-NC-WN CRS451 Water Level Recording Sensor, Stainless Steel (0 to +60C)** -SA Standard 0.1% Accuracy -72 0-72.5psig (500kPa) -NC No Calibration Cert -WN w/Weighted Nose Cone
SA-72-CC-WN | SA Standard 0.1% Accuracy | 0-72.5psig (500kPa) | CC w/Calibration Cert | WN w/Weighted Nose Cone | CRS451-SA-72-CC-WN CRS451 Water Level Recording Sensor, Stainless Steel (0 to +60C)** -SA Standard 0.1% Accuracy -72 0-72.5psig (500kPa) -CC w/Calibration Cert -WN w/Weighted Nose Cone
SA-72-NC-NN | SA Standard 0.1% Accuracy | 0-72.5psig (500kPa) | NC No Calibration Cert | NN w/NPT Fitting | CRS451-SA-72-NC-NN CRS451 Water Level Recording Sensor, Stainless Steel (0 to +60C)** -SA Standard 0.1% Accuracy -72 0-72.5psig (500kPa) -NC No Calibration Cert -NN w/NPT Fitting
SA-72-CC-NN | SA Standard 0.1% Accuracy | 0-72.5psig (500kPa) | CC w/Calibration Cert | NN w/NPT Fitting | CRS451-SA-72-CC-NN CRS451 Water Level Recording Sensor, Stainless Steel (0 to +60C)** -SA Standard 0.1% Accuracy -72 0-72.5psig (500kPa) -CC w/Calibration Cert -NN w/NPT Fitting
SA-145-NC-SN | SA Standard 0.1% Accuracy | 0-145psig (1000kPa) | NC No Calibration Cert | SN w/Standard Nose Cone | CRS451-SA-145-NC-SN CRS451 Water Level Recording Sensor, Stainless Steel (0 to +60C)** -SA Standard 0.1% Accuracy -145 0-145psig (1000kPa) -NC No Calibration Cert –SN w/Standard Nose Cone
SA-145-CC-SN | SA Standard 0.1% Accuracy | 0-145psig (1000kPa) | CC w/Calibration Cert | SN w/Standard Nose Cone | CRS451-SA-145-CC-SN CRS451 Water Level Recording Sensor, Stainless Steel (0 to +60C)** -SA Standard 0.1% Accuracy -145 0-145psig (1000kPa) -CC w/Calibration Cert –SN w/Standard Nose Cone
SA-145-NC-WN | SA Standard 0.1% Accuracy | 0-145psig (1000kPa) | NC No Calibration Cert | WN w/Weighted Nose Cone | CRS451-SA-145-NC-WN CRS451 Water Level Recording Sensor, Stainless Steel (0 to +60C)** -SA Standard 0.1% Accuracy -145 0-145psig (1000kPa) -NC No Calibration Cert -WN w/Weighted Nose Cone
SA-145-CC-WN | SA Standard 0.1% Accuracy | 0-145psig (1000kPa) | CC w/Calibration Cert | WN w/Weighted Nose Cone | CRS451-SA-145-CC-WN CRS451 Water Level Recording Sensor, Stainless Steel (0 to +60C)** -SA Standard 0.1% Accuracy -145 0-145psig (1000kPa) -CC w/Calibration Cert -WN w/Weighted Nose Cone
SA-145-NC-NN | SA Standard 0.1% Accuracy | 0-145psig (1000kPa) | NC No Calibration Cert | NN w/NPT Fitting | CRS451-SA-145-NC-NN CRS451 Water Level Recording Sensor, Stainless Steel (0 to +60C)** -SA Standard 0.1% Accuracy -145 0-145psig (1000kPa) -NC No Calibration Cert -NN w/NPT Fitting
SA-145-CC-NN | SA Standard 0.1% Accuracy | 0-145psig (1000kPa) | CC w/Calibration Cert | NN w/NPT Fitting | CRS451-SA-145-CC-NN CRS451 Water Level Recording Sensor, Stainless Steel (0 to +60C)** -SA Standard 0.1% Accuracy -145 0-145psig (1000kPa) -CC w/Calibration Cert -NN w/NPT Fitting